## Amine Plate
BioRedAm Activity Assay ¦ Spectrophotometric Determination of NADPH Consumption
Enzyme: |  |  |  | IR01738
Assay Method: |  |  |  | photometric, manual pipetting
Assay Conditions: |  |  |  | 50 mM carbonyl compound, 50 mM amine, 2 mM NADPH, 2 mg/mL IRED (crude lysate), 10% (v/v) DMSO, bicine–NaOH buffer (100 mM, pH 8.0)
Instrument Settings: |  |  |  | Molecular Devices SpectraMax M2 plate reader; wavelength 370 nm; 30 °C, 1 h, measurement interval 30 s, pathlength determination (PathCheck) via cuvette reference
Lab Journal Code: |  |  |  | BES-BC-179
Experiment Date: |  |  |  | 14.11.2022
Plate Layout: | [12 empty] | Analysis:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | ε370(NADPH) [M–1 cm–1]: |  | 2216
A | C003–A004 | C029–A004 | C046–A004 | C054–A004 | C105–A004 | C139–A004 | C003–A024 | C029–A024 | C046–A024 | C054–A024 | C105–A024 | C139–A024 | c(lysate) [mg mL–1]: |  | 2
B | C003–A009 | C029–A009 | C046–A009 | C054–A009 | C105–A009 | C139–A009 | C003–A027 | C029–A027 | C046–A027 | C054–A027 | C105–A027 | C139–A027
C | C003–A010 | C029–A010 | C046–A010 | C054–A010 | C105–A010 | C139–A010 | C003–A029 | C029–A029 | C046–A029 | C054–A029 | C105–A029 | C139–A029 | substrate combination | biotransformation slope |  | EVC slope [mAU min–1 cm–1] |  | activity [mU mg–1]
D | C003–A012 | C029–A012 | C046–A012 | C054–A012 | C105–A012 | C139–A012 | C003–A032 | C029–A032 | C046–A032 | C054–A032 | C105–A032 | C139–A032 |  | raw [mAU min–1] | corr [mAU min–1 cm–1] | mean | SD | value | EVC SD | Hit Finder
E | C003–A013 | C029–A013 | C046–A013 | C054–A013 | C105–A013 | C139–A013 | C003–A033 | C029–A033 | C046–A033 | C054–A033 | C105–A033 | C139–A033 | C003–A004 | -25.8291 | -130.6538 | -5.59 | 2.54 | 28.2184 | 0.5731 | Hit
F | C003–A014 | C029–A014 | C046–A014 | C054–A014 | C105–A014 | C139–A014 | C003–A034 | C029–A034 | C046–A034 | C054–A034 | C105–A034 | C139–A034 | C003–A009 | -1.8945 | -10.7177 | -4.86 | 1.16 | 1.3217 | 0.26173 | Hit
G | C003–A019 | C029–A019 | C046–A019 | C054–A019 | C105–A019 | C139–A019 | C003–A050 | C029–A050 | C046–A050 | C054–A050 | C105–A050 | C139–A050 | C003–A010 | -6.8632 | -36.4461 | -3.18 | 4.68 | 7.5059 | 1.056 | Hit
H | C003–A022 | C029–A022 | C046–A022 | C054–A022 | C105–A022 | C139–A022 | C003–A055 | C029–A055 | C046–A055 | C054–A055 | C105–A055 | C139–A055 | C003–A012 | -436.1 | -2214.0462 | 0.15 | 3.18 | 499.593 | 0.71751 | Hit
[13 empty] | C003–A013 | -5.6838 | -29.7275 | -3.97 | 5.3 | 5.8117 | 1.1958
PathCheck Data: |  |  |  | pathlength [cm] | [8 empty] | C003–A014 | -5.5646 | -28.8858 | -3.37 | 2.42 | 5.7572 | 0.54603 | Hit
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C003–A019 | -2.3155 | -12.5363 | -2.32 | 1.53 | 2.3051 | 0.34522 | Hit
A | 0.19769 | 0.20418 | 0.20851 | 0.20851 | 0.22727 | 0.22294 | 0.20274 | 0.19913 | 0.19986 | 0.20202 | 0.21934 | 0.22006 | C003–A022 | -3.4004 | -18.5549 | -4.88 | 4.2 | 3.0855 | 0.94765
B | 0.17677 | 0.21645 | 0.20274 | 0.19192 | 0.23377 | 0.21645 | 0.20491 | 0.19553 | 0.20346 | 0.20491 | 0.20996 | 0.10173 | C029–A004 | -2.5002 | -12.245 | -6 | 5.67 | 1.4091 | 1.2793
C | 0.18831 | 0.19553 | 0.20563 | 0.20924 | 0.22367 | 0.21212 | 0.19986 | 0.18759 | 0.20491 | 0.19264 | X | X | C029–A009 | -1.8429 | -8.5142 | -3.31 | 3.33 | 1.1742 | 0.75135
D | 0.19697 | 0.20418 | 0.20707 | 0.20851 | 0.23088 | 0.21284 | 0.19841 | 0.19048 | 0.19408 | 0.19264 | X | X | C029–A010 | -3.8168 | -19.5207 | -7.78 | 7.83 | 2.6491 | 1.7667
E | 0.1912 | 0.19841 | 0.20418 | 0.20924 | 0.24892 | 0.19553 | 0.19986 | 0.18254 | 0.19625 | 0.18759 | X | X | C029–A012 | -10.3331 | -50.6065 | -2.27 | 5.68 | 10.9063 | 1.2816 | Hit
F | 0.19264 | 0.19913 | 0.20274 | 0.20563 | 0.21789 | 0.19264 | 0.18831 | 0.18038 | 0.18759 | 0.17965 | 0.17821 | 0.19625 | C029–A013 | -2.8916 | -14.5737 | 0.54 | 1.66 | 3.4101 | 0.37455 | Hit
G | 0.1847 | 0.17893 | 0.1847 | 0.18254 | 0.21212 | 0.19481 | 0.19481 | 0.18182 | 0.18254 | 0.18831 | 0.20924 | 0.18687 | C029–A014 | -2.69 | -13.5085 | 0.36 | 3.75 | 3.1292 | 0.84612
H | 0.18326 | 0.17388 | 0.18687 | 0.19192 | 0.21573 | 0.15512 | 0.1746 | 0.16955 | 0.17893 | 0.17605 | 0.2316 | 0.1811 | C029–A019 | -2.4408 | -13.6412 | -0.45 | 0.71 | 2.9763 | 0.1602 | Hit
[13 empty] | C029–A022 | -2.023 | -11.6346 | -0.87 | 3.66 | 2.4288 | 0.82581
| X | erroneous PathCheck reading due to precipitation –> kinetic data not analysed | [10 empty] | C046–A004 | -2.3378 | -11.2115 | -2.99 | 6 | 1.855 | 1.3538
[13 empty] | C046–A009 | -1.9615 | -9.6749 | 0.08 | 2.26 | 2.201 | 0.50993
Kinetic Data: |  |  |  | max. absorbance change [mAU/min] | [8 empty] | C046–A010 | -2.7311 | -13.2817 | -6.24 | 2.35 | 1.5888 | 0.53023
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C046–A012 | -5.7422 | -27.7309 | -4.78 | 3.14 | 5.1784 | 0.70848 | Hit
A | -25.8291 | -2.5002 | -2.3378 | -5.7006 | -323.4 | -4.3617 | -2.2692 | -2.415 | -2.4158 | -2.4343 | -8.7184 | -2.0228 | C046–A013 | -3.3483 | -16.3982 | -3.55 | 2.24 | 2.899 | 0.50542 | Hit
B | -1.8945 | -1.8429 | -1.9615 | -2.216 | -3.1973 | -2.8269 | -2.0627 | -2.2639 | -2.2262 | -2.2024 | -4.463 | -28.7 | C046–A014 | -4.112 | -20.2819 | -1.18 | 2.52 | 4.31 | 0.56859 | Hit
C | -6.8632 | -3.8168 | -2.7311 | -6.4034 | -84.2 | -5.3431 | -1.8356 | -2.044 | -1.9556 | -1.4856 | X | X | C046–A019 | -2.427 | -13.1397 | -12.42 | 8.78 | 0.16239 | 1.981
D | -436.1 | -10.3331 | -5.7422 | -6.3535 | -138.5 | -7.416 | -1.7546 | -1.4811 | -1.663 | -1.6072 | X | X | C046–A022 | -2.2238 | -11.9001 | -3.18 | 2.04 | 1.9675 | 0.46029
E | -5.6838 | -2.8916 | -3.3483 | -4.2979 | -241.9 | -4.3824 | -14.6685 | -1.6218 | -1.7788 | -2.0738 | X | X | C054–A004 | -5.7006 | -27.339 | -2.24 | 3.76 | 5.6631 | 0.84838 | Hit
F | -5.5646 | -2.69 | -4.112 | -5.5544 | -10.9501 | -3.2314 | -48.0994 | -35.3745 | -40.2242 | -22.6158 | -37.8339 | -6.1296 | C054–A009 | -2.216 | -11.5464 | -4.7 | 4.18 | 1.5448 | 0.94314
G | -2.3155 | -2.4408 | -2.427 | -2.624 | -3.402 | -2.4783 | -1.5437 | -1.5751 | -1.5301 | -1.3689 | -2.3001 | -1.5367 | C054–A010 | -6.4034 | -30.6037 | -2.08 | 2.08 | 6.4359 | 0.46931 | Hit
H | -3.4004 | -2.023 | -2.2238 | -1.886 | -6.6618 | -2.8513 | -1.316 | -1.3818 | -1.5488 | -1.6828 | -2.2608 | -1.5415 | C054–A012 | -6.3535 | -30.4704 | -0.43 | 1.42 | 6.7781 | 0.3204 | Hit
[13 empty] | C054–A013 | -4.2979 | -20.5411 | -4.97 | 3.71 | 3.5133 | 0.83709
|  | vmax30lag600 |  |  |  |  | vmax10 | [5 empty] | C054–A014 | -5.5544 | -27.0119 | -1.4 | 1.6 | 5.7789 | 0.36101 | Hit
[13 empty] | C054–A019 | -2.624 | -14.3751 | -7.33 | 4.28 | 1.5896 | 0.9657
|  | vmax3 | [10 empty] | C054–A022 | -1.886 | -9.8271 | -4.52 | 3.25 | 1.1974 | 0.7333
[13 empty] | C105–A004 | -323.4 | -1422.96 | -4.22 | 2.06 | 320.1128 | 0.4648 | Hit
[13 empty] | C105–A009 | -3.1973 | -13.6773 | -2.28 | 4.99 | 2.5716 | 1.1259
[13 empty] | C105–A010 | -84.2 | -376.4555 | -6.68 | 5.14 | 83.4331 | 1.1597 | Hit
[13 empty] | C105–A012 | -138.5 | -599.8781 | -4.03 | 19.12 | 134.4423 | 4.3141 | Hit
[13 empty] | C105–A013 | -241.9 | -971.807 | -4.16 | 4.1 | 218.3319 | 0.92509 | Hit
[13 empty] | C105–A014 | -10.9501 | -50.2545 | -6.68 | 7.37 | 9.8318 | 1.6629 | Hit
[13 empty] | C105–A019 | -3.402 | -16.038 | -1.88 | 4.47 | 3.1945 | 1.0086
[13 empty] | C105–A022 | -6.6618 | -30.8803 | -2.03 | 1.83 | 6.5095 | 0.41291 | Hit
[13 empty] | C139–A004 | -4.3617 | -19.5641 | -4.58 | 4.88 | 3.3809 | 1.1011
[13 empty] | C139–A009 | -2.8269 | -13.0602 | -5.39 | 3.94 | 1.7306 | 0.88899
[13 empty] | C139–A010 | -5.3431 | -25.1891 | -3.61 | 3.9 | 4.8689 | 0.87996 | Hit
[13 empty] | C139–A012 | -7.416 | -34.8425 | -2.07 | 1.82 | 7.3945 | 0.41065 | Hit
[13 empty] | C139–A013 | -4.3824 | -22.4132 | -2.58 | 2.21 | 4.475 | 0.49865 | Hit
[13 empty] | C139–A014 | -3.2314 | -16.7741 | -1.06 | 7.09 | 3.5456 | 1.5997
[13 empty] | C139–A019 | -2.4783 | -12.7218 | -24.78 | 7.6 | -2.7207 | 1.7148
[13 empty] | C139–A022 | -2.8513 | -18.3807 | -6.47 | 6.78 | 2.6874 | 1.5298
[13 empty] | C003–A024 | -2.2692 | -11.1925 | -3.09 | 4.89 | 1.8282 | 1.1033
[13 empty] | C003–A027 | -2.0627 | -10.0665 | -6.94 | 6.42 | 0.70544 | 1.4486
[13 empty] | C003–A029 | -1.8356 | -9.1848 | -5.73 | 4.17 | 0.77952 | 0.94088
[13 empty] | C003–A032 | -1.7546 | -8.8433 | -2.65 | 5.42 | 1.3974 | 1.2229
[13 empty] | C003–A033 | -14.6685 | -73.3956 | -5.21 | 6.26 | 15.3848 | 1.4125 | Hit
[13 empty] | C003–A034 | -48.0994 | -255.4244 | -3.69 | 4.82 | 56.7993 | 1.0875 | Hit
[13 empty] | C003–A050 | -1.5437 | -7.9244 | -7.81 | 3.34 | 0.025813 | 0.75361
[13 empty] | C003–A055 | -1.316 | -7.5373 | -8.21 | 5.92 | -0.15178 | 1.3357
[13 empty] | C029–A024 | -2.415 | -12.1277 | -6.13 | 2.71 | 1.3533 | 0.61146
[13 empty] | C029–A027 | -2.2639 | -11.5787 | -2.48 | 4 | 2.0529 | 0.90253
[13 empty] | C029–A029 | -2.044 | -10.8961 | -13.13 | 4.42 | -0.50404 | 0.99729
[13 empty] | C029–A032 | -1.4811 | -7.7758 | -12.36 | 18.34 | -1.0343 | 4.1381
[13 empty] | C029–A033 | -1.6218 | -8.8847 | -2.96 | 5.14 | 1.3368 | 1.1597
[13 empty] | C029–A034 | -35.3745 | -196.1165 | -1.51 | 4.48 | 43.9094 | 1.0108 | Hit
[13 empty] | C029–A050 | -1.5751 | -8.663 | -3.37 | 3.93 | 1.1943 | 0.88673
[13 empty] | C029–A055 | -1.3818 | -8.1497 | -0.15 | 2.75 | 1.805 | 0.62049
[13 empty] | C046–A024 | -2.4158 | -12.0875 | -10.28 | 8.4 | 0.40782 | 1.8953
[13 empty] | C046–A027 | -2.2262 | -10.9414 | -3.52 | 3.38 | 1.6745 | 0.76264
[13 empty] | C046–A029 | -1.9556 | -9.5441 | -3.65 | 2.24 | 1.3299 | 0.50542
[13 empty] | C046–A032 | -1.663 | -8.5687 | -3.27 | 1.54 | 1.1956 | 0.34747
[13 empty] | C046–A033 | -1.7788 | -9.0639 | -4.9 | 3.62 | 0.93951 | 0.81679
[13 empty] | C046–A034 | -40.2242 | -214.4262 | -2.2 | 3.89 | 47.885 | 0.87771 | Hit
[13 empty] | C046–A050 | -1.5301 | -8.382 | -16.32 | 8.74 | -1.7911 | 1.972
[13 empty] | C046–A055 | -1.5488 | -8.6557 | -7.94 | 4.66 | 0.16149 | 1.0514
[13 empty] | C054–A024 | -2.4343 | -12.0498 | -8.18 | 3.78 | 0.87315 | 0.85289
[13 empty] | C054–A027 | -2.2024 | -10.7481 | -7.3 | 3.75 | 0.77801 | 0.84612
[13 empty] | C054–A029 | -1.4856 | -7.7118 | -10.55 | 6.4 | -0.64039 | 1.444
[13 empty] | C054–A032 | -1.6072 | -8.3428 | -1.82 | 4.4 | 1.4718 | 0.99278
[13 empty] | C054–A033 | -2.0738 | -11.055 | -14.3 | 7.08 | -0.73217 | 1.5975
[13 empty] | C054–A034 | -22.6158 | -125.8853 | 0 | 3.77 | 28.4037 | 0.85063 | Hit
[13 empty] | C054–A050 | -1.3689 | -7.2696 | -6.55 | 7.4 | 0.16236 | 1.6697
[13 empty] | C054–A055 | -1.6828 | -9.5591 | -4.33 | 2.55 | 1.1799 | 0.57536
[13 empty] | C105–A024 | -8.7184 | -39.7488 | -7.83 | 7.47 | 7.2019 | 1.6855
[13 empty] | C105–A027 | -4.463 | -21.257 | -6.68 | 5.32 | 3.289 | 1.2004
[13 empty] | C105–A029 | X | #VALUE! | -0.08 | 8.26 | #VALUE! | 1.8637 | #VALUE!
[13 empty] | C105–A032 | X | #VALUE! | -5.78 | 5.71 | #VALUE! | 1.2884 | #VALUE!
[13 empty] | C105–A033 | X | #VALUE! | -8.94 | 1.64 | #VALUE! | 0.37004 | #VALUE!
[13 empty] | C105–A034 | -37.8339 | -212.2989 | -7.5 | 2.97 | 46.2091 | 0.67013 | Hit
[13 empty] | C105–A050 | -2.3001 | -10.9929 | -9.22 | 2.8 | 0.40003 | 0.63177
[13 empty] | C105–A055 | -2.2608 | -9.7615 | -6.2 | 4.89 | 0.80359 | 1.1033
[13 empty] | C139–A024 | -2.0228 | -9.192 | -16.31 | 7.57 | -1.606 | 1.708
[13 empty] | C139–A027 | -28.7 | -282.1149 | -7.54 | 4.83 | 61.9528 | 1.0898 | Hit
[13 empty] | C139–A029 | X | #VALUE! | -4.21 | 2.91 | #VALUE! | 0.65659 | #VALUE!
[13 empty] | C139–A032 | X | #VALUE! | -4.23 | 1.08 | #VALUE! | 0.24368 | #VALUE!
[13 empty] | C139–A033 | X | #VALUE! | -4.54 | 2.89 | #VALUE! | 0.65208 | #VALUE!
[13 empty] | C139–A034 | -6.1296 | -31.2337 | -1.41 | 2.71 | 6.7292 | 0.61146 | Hit
[13 empty] | C139–A050 | -1.5367 | -8.2233 | -13.89 | 8.59 | -1.2786 | 1.9382
[13 empty] | C139–A055 | -1.5415 | -8.5122 | -2.96 | 1.29 | 1.2528 | 0.29106