## Plate 1
BioRedAm Activity Assay ¦ Spectrophotometric Determination of NADPH Consumption
Enzyme: |  |  |  | IR00742
Assay Method: |  |  |  | photometric, robotic pipetting
Assay Conditions: |  |  |  | 50 mM carbonyl compound, 50 mM amine (exception: A001, 500 mM), 2 mM NADPH, 1 mg/mL IRED (crude lysate), 10% (v/v) DMSO, bicine–NaOH buffer (100 mM, pH 8.0)
Instrument Settings: |  |  |  | FLUOstar Omega plate reader; wavelength 370 nm; 30 °C, 1 h, measurement interval 30 s, pathlength mean of previous inital screening pathlenghts
Lab Journal Code: |  |  |  | GRC-GD-102
Experiment Date: |  |  |  | 2022-03-08
Plate Layout: | [12 empty] | Analysis:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | ε370(NADPH) [M–1 cm–1]: |  |  | 2216
A | C122–A001 |  |  | C003–A001 |  |  | C067–A001 |  |  | C042–A001 |  |  | c(lysate) [mg mL–1]: |  |  | 1
B | C122–A002 |  |  | C003–A002 |  |  | C067–A002 |  |  | C042–A002
C | C122–A006 |  |  | C003–A006 |  |  | C067–A006 |  |  | C042–A006 |  |  | substrate combination | slope [mAU min–1] |  |  | norm. slope [mAU min–1 cm–1] |  |  | activity [mU mg–1] |  | Hit Finder
D | C122–A011 |  |  | C003–A011 |  |  | C067–A011 |  |  | C042–A011 |  |  |  | mean | meancorr | SD | mean | meancorr | SD | mean | SD | 5 SD | 3 SD
E | C122–A025 |  |  | C003–A025 |  |  | C067–A025 |  |  | C042–A025 |  |  | C122–A001 | -1.5497 | 0.5291 | 0.11328 | -6.4572 | -2.2046 | 0.47201 | -0.99485 | 0.213
F | C122–A030 |  |  | C003–A030 |  |  | C067–A030 |  |  | C042–A030 |  |  | C122–A002 | -1.5395 | 0.53938 | 0.17228 | -6.4144 | -2.2474 | 0.71784 | -1.0142 | 0.32393
G | C122–A036 |  |  | C003–A036 |  |  | C067–A036 |  |  | C042–A036 |  |  | C122–A006 | -1.3558 | 0.72303 | 0.045997 | -5.6492 | -3.0126 | 0.19165 | -1.3595 | 0.086487
H | C122 w/o amine |  |  | C003 w/o amine |  |  | C067 w/o amine |  |  | C042 w/o amine |  |  | C122–A011 | -1.689 | 0.38981 | 0.087844 | -7.0376 | -1.6242 | 0.36602 | -0.73294 | 0.16517
[13 empty] | C122–A025 | -1.2612 | 0.81766 | 0.08424 | -5.2549 | -3.4069 | 0.351 | -1.5374 | 0.15839
PathCheck Data: |  |  |  | pathlength [cm] | [8 empty] | C122–A030 | 52.3531 | 54.4319 | 32.2558 | 218.1379 | -226.7997 | 134.399 | -102.3464 | 60.6494
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C122–A036 | 96.4346 | 98.5134 | 43.9036 | 401.8108 | -410.4726 | 182.9317 | -185.2313 | 82.5504
A | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C122 w/o amine | -2.0788 |  | 0.1357 | -8.6618 | 8.6618 | 0.56542 | 3.9088 | 0.25515
B | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A001 | -1.557 | 0.1213 | 0.024748 | -6.4874 | -0.50541 | 0.10311 | -0.22807 | 0.046532
C | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A002 | -1.4317 | 0.2466 | 0.26189 | -5.9653 | -1.0275 | 1.0912 | -0.46368 | 0.49242
D | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A006 | -1.2127 | 0.46559 | 0.13398 | -5.0528 | -1.94 | 0.55824 | -0.87544 | 0.25191
E | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A011 | -2.271 | -0.59274 | 0.15555 | -9.4625 | 2.4697 | 0.64811 | 1.1145 | 0.29247
F | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A025 | -1.1619 | 0.51635 | 0.077747 | -4.8413 | -2.1515 | 0.32394 | -0.97087 | 0.14618
G | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A030 | -0.62311 | 1.0552 | 0.071788 | -2.5963 | -4.3965 | 0.29911 | -1.984 | 0.13498
H | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C003–A036 | -0.90748 | 0.77079 | 0.12243 | -3.7812 | -3.2116 | 0.51013 | -1.4493 | 0.23021
[13 empty] | C003 w/o amine | -1.6783 |  | 0.20115 | -6.9928 | 6.9928 | 0.83813 | 3.1556 | 0.37822
|  | erroneous PathCheck reading due to precipitation –> standard value (0.24) used | [10 empty] | C067–A001 | -1.1315 | 0.97359 | 0.014169 | -4.7146 | -4.0566 | 0.059037 | -1.8306 | 0.026641
[13 empty] | C067–A002 | -1.0491 | 1.056 | 0.041837 | -4.3713 | -4.3999 | 0.17432 | -1.9855 | 0.078665
Kinetic Data: |  |  |  | max. absorbance change [mAU/min] | [8 empty] | C067–A006 | -0.9949 | 1.1102 | 0.039584 | -4.1454 | -4.6258 | 0.16493 | -2.0875 | 0.074428
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C067–A011 | -1.1152 | 0.98994 | 0.068925 | -4.6465 | -4.1247 | 0.28719 | -1.8613 | 0.1296
A | -1.676 | -1.572 | -1.4012 | -1.5248 | -1.5849 | -1.5612 | -1.1456 | -1.1368 | -1.1121 | -1.5999 | x | -1.3962 | C067–A025 | -0.81286 | 1.2922 | 0.12777 | -3.3869 | -5.3843 | 0.53237 | -2.4297 | 0.24024
B | -1.3242 | -1.746 | -1.5482 | -1.2875 | -1.2083 | -1.7992 | -1.0384 | -1.1049 | -1.0041 | -2.1379 | -1.8358 | -0.65661 | C067–A030 | -0.36723 | 1.7379 | 0.014347 | -1.5301 | -7.2411 | 0.059779 | -3.2677 | 0.026976
C | -1.407 | -1.365 | -1.2954 | -1.3864 | -1.1913 | -1.0603 | -1.0509 | -0.96763 | -0.96621 | -1.4439 | -1.4014 | -1.475 | C067–A036 | -0.67741 | 1.4277 | 0.10244 | -2.8225 | -5.9487 | 0.42685 | -2.6844 | 0.19262
D | -1.5754 | -1.7893 | -1.7023 | -2.3351 | -2.0567 | -2.4212 | -1.0698 | -1.2126 | -1.0632 | -1.2497 | -2.1978 | -1.8887 | C067 w/o amine | -2.1051 |  | 0.067803 | -8.7712 | 8.7712 | 0.28251 | 3.9581 | 0.12749
E | -1.2579 | -1.366 | -1.1597 | -1.2367 | -1.0547 | -1.1944 | -0.7661 | -0.68509 | -0.9874 | -1.0891 | -1.8672 | -1.2973 | C042–A001 | -1.4981 | 0.45734 | 0.10185 | -6.242 | -1.9056 | 0.42437 | -0.85993 | 0.1915
F | 13.653 | 92.6167 | 50.7896 | -0.59196 | -0.555 | -0.72236 | -0.35058 | -0.38559 | -0.36551 | -0.95391 | -0.72537 | -0.75539 | C042–A002 | -1.5434 | 0.41196 | 0.6391 | -6.431 | -1.7165 | 2.6629 | -0.7746 | 1.2017
G | 66.1306 | 64.6553 | 158.5178 | -1.012 | -0.97474 | -0.73568 | -0.71935 | -0.53635 | -0.77654 | -0.58025 | -0.84099 | -0.54759 | C042–A006 | -1.4401 | 0.51528 | 0.030164 | -6.0005 | -2.147 | 0.12568 | -0.96887 | 0.056716
H | -1.9408 | -2.0324 | -2.2633 | -1.7989 | -1.841 | -1.3948 | -2.0723 | -2.1995 | -2.0435 | -2.1196 | -2.0045 | -1.7422 | C042–A011 | -1.7788 | 0.17664 | 0.39479 | -7.4115 | -0.73601 | 1.645 | -0.33213 | 0.74232
[13 empty] | C042–A025 | -1.4179 | 0.53754 | 0.32892 | -5.9078 | -2.2397 | 1.3705 | -1.0107 | 0.61846
|  | artifact method |  |  |  | outlier | [6 empty] | C042–A030 | -0.81156 | 1.1439 | 0.1014 | -3.3815 | -4.7661 | 0.42251 | -2.1508 | 0.19066
| (rest) | slower reactions: Vmax over 30 data points, initial 600 sec discarded | [10 empty] | C042–A036 | -0.65628 | 1.2991 | 0.13129 | -2.7345 | -5.4131 | 0.54705 | -2.4427 | 0.24686
[13 empty] | C042 w/o amine | -1.9554 |  | 0.15793 | -8.1476 | 8.1476 | 0.65803 | 3.6767 | 0.29694
INSERT IMAGE OF KINETIC CURVES HERE

## Plate 2
BioRedAm Activity Assay ¦ Spectrophotometric Determination of NADPH Consumption
Enzyme: |  |  |  | IR00742
Assay Method: |  |  |  | photometric, robotic pipetting
Assay Conditions: |  |  |  | 50 mM carbonyl compound, 50 mM amine (exception: A001, 500 mM), 2 mM NADPH, 1 mg/mL IRED (crude lysate), 10% (v/v) DMSO, bicine–NaOH buffer (100 mM, pH 8.0)
Instrument Settings: |  |  |  | FLUOstar Omega plate reader; wavelength 370 nm; 30 °C, 1 h, measurement interval 30 s, pathlength mean of previous inital screening pathlenghts
Lab Journal Code: |  |  |  | GRC-GD-127
Experiment Date: |  |  |  | 2022-03-15
Plate Layout: | [12 empty] | Analysis:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | ε370(NADPH) [M–1 cm–1]: |  |  | 2216
A | C093–A001 |  |  | C028–A001 |  |  | C037–A001 |  |  | C054–A001 |  |  | c(lysate) [mg mL–1]: |  |  | 1
B | C093–A002 |  |  | C028–A002 |  |  | C037–A002 |  |  | C054–A002
C | C093–A006 |  |  | C028–A006 |  |  | C037–A006 |  |  | C054–A006 |  |  | substrate combination | slope [mAU min–1] |  |  | norm. slope [mAU min–1 cm–1] |  |  | activity [mU mg–1] |  | Hit Finder
D | C093–A011 |  |  | C028–A011 |  |  | C037–A011 |  |  | C054–A011 |  |  |  | mean | meancorr | SD | mean | meancorr | SD | mean | SD | 5 SD | 3 SD
E | C093–A025 |  |  | C028–A025 |  |  | C037–A025 |  |  | C054–A025 |  |  | C093–A001 | -1.6579 | -0.53215 | 0.70602 | -6.908 | 2.2173 | 2.9418 | 1.0006 | 1.3275
F | C093–A030 |  |  | C028–A030 |  |  | C037–A030 |  |  | C054–A030 |  |  | C093–A002 | -0.8686 | 0.25718 | 0.64316 | -3.6192 | -1.0716 | 2.6798 | -0.48356 | 1.2093
G | C093–A036 |  |  | C028–A036 |  |  | C037–A036 |  |  | C054–A036 |  |  | C093–A006 | -0.63656 | 0.48922 | 0.63656 | -2.6524 | -2.0384 | 2.6524 | -0.91985 | 1.1969
H | C093 w/o amine |  |  | C028 w/o amine |  |  | C037 w/o amine |  |  | C054 w/o amine |  |  | C093–A011 | -0.64706 | 0.47872 | 0.07965 | -2.6961 | -1.9947 | 0.33187 | -0.90012 | 0.14976
[13 empty] | C093–A025 | -0.134 | 0.99178 | 0.2079 | -0.55835 | -4.1324 | 0.86624 | -1.8648 | 0.3909
PathCheck Data: |  |  |  | pathlength [cm] | [8 empty] | C093–A030 | 0.23488 | 1.3607 | 0.36453 | 0.97865 | -5.6694 | 1.5189 | -2.5584 | 0.68541
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C093–A036 | -0.69255 | 0.43323 | 0.62343 | -2.8856 | -1.8051 | 2.5976 | -0.81459 | 1.1722
A | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C093 w/o amine | -1.1258 |  | 0.11376 | -4.6907 | 4.6907 | 0.47401 | 2.1168 | 0.21391
B | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A001 | -2.0882 | -0.86653 | 0.084567 | -8.7008 | 3.6105 | 0.35236 | 1.6293 | 0.15901 | Hit | Hit
C | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A002 | -1.4193 | -0.19767 | 0.19348 | -5.9139 | 0.8236 | 0.80618 | 0.37166 | 0.3638
D | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A006 | -1.33 | -0.10829 | 0.2581 | -5.5415 | 0.45122 | 1.0754 | 0.20362 | 0.4853
E | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A011 | -1.2901 | -0.068486 | 0.11324 | -5.3756 | 0.28536 | 0.47182 | 0.12877 | 0.21291
F | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A025 | -1.2249 | -0.0032158 | 0.041235 | -5.1036 | 0.013399 | 0.17181 | 0.0060465 | 0.077533
G | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A030 | -0.7638 | 0.45786 | 0.077958 | -3.1825 | -1.9077 | 0.32483 | -0.86089 | 0.14658
H | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | 0.24 | C028–A036 | -0.91196 | 0.3097 | 0.12236 | -3.7999 | -1.2904 | 0.50984 | -0.58231 | 0.23007
[13 empty] | C028 w/o amine | -1.2217 |  | 0.077419 | -5.0902 | 5.0902 | 0.32258 | 2.297 | 0.14557
|  | erroneous PathCheck reading due to precipitation –> standard value (0.24) used | [10 empty] | C037–A001 | -1.5662 | 0.32288 | 0.19417 | -6.526 | -1.3453 | 0.80903 | -0.60709 | 0.36509
[13 empty] | C037–A002 | -1.2542 | 0.63488 | 0.005516 | -5.226 | -2.6453 | 0.022983 | -1.1937 | 0.010372
Kinetic Data: |  |  |  | max. absorbance change [mAU/min] | [8 empty] | C037–A006 | -1.2654 | 0.62368 | 0.38185 | -5.2726 | -2.5987 | 1.5911 | -1.1727 | 0.71799
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | C037–A011 | -1.5233 | 0.36582 | 0.034283 | -6.3471 | -1.5242 | 0.14284 | -0.68783 | 0.06446
A | -0.9519 | x | -2.3639 | -2.198 | -2.0743 | -1.9922 | -1.4463 | -1.8401 | -1.4123 | -1.2676 | -1.4509 | -1.1481 | C037–A025 | -1.2092 | 0.67994 | 0.027131 | -5.0382 | -2.8331 | 0.11304 | -1.2785 | 0.051013
B | -1.5118 | -0.22544 | x | -1.4337 | -1.6488 | -1.1755 | -1.2616 | -1.2528 | -1.2483 | -1.0065 | -0.94678 | -0.95831 | C037–A030 | -0.89804 | 0.99107 | 0.15232 | -3.7418 | -4.1295 | 0.63465 | -1.8635 | 0.28639
C | x | -1.2731 | 0 | -1.0992 | -1.6902 | -1.2004 | -0.78367 | -1.295 | -1.7176 | -0.86421 | -2.02 | -0.95192 | C037–A036 | -0.51485 | 1.3743 | 1.027 | -2.1452 | -5.7261 | 4.279 | -2.584 | 1.931
D | -0.58196 | -0.6 | -0.75922 | -1.2537 | -1.4434 | -1.1733 | -1.5137 | -1.4869 | -1.5692 | -0.47107 | -0.90859 | -1.1127 | C037 w/o amine | -1.8891 |  | 0.10676 | -7.8713 | 7.8713 | 0.44483 | 3.552 | 0.20073
E | -0.31625 | -0.24268 | 0.15692 | -1.1747 | -1.2757 | -1.2243 | -1.1949 | -1.1855 | -1.2471 | -0.91183 | -0.8687 | -0.70081 | C054–A001 | -1.2889 | -0.15844 | 0.12454 | -5.3704 | 0.66019 | 0.5189 | 0.29792 | 0.23416
F | 0.034375 | 0.74643 | -0.076174 | -0.69052 | -0.72911 | -0.87178 | -0.70213 | -1.0735 | -0.91843 | -0.31434 | -0.34867 | -0.31647 | C054–A002 | -0.97052 | 0.15994 | 0.025856 | -4.0438 | -0.66641 | 0.10773 | -0.30072 | 0.048616
G | -1.0242 | -1.2342 | 0.18075 | -1.0602 | -0.91511 | -0.76055 | -1.0875 | -1.3844 | 0.92736 | -0.61115 | -0.39246 | -0.35069 | C054–A006 | -1.2787 | -0.14826 | 0.52541 | -5.328 | 0.61775 | 2.1892 | 0.27877 | 0.98791
H | -1.0712 | -1.2841 | -1.022 | -1.326 | -1.1407 | -1.1984 | -1.9104 | -2.0079 | -1.749 | -1.2527 | -1.1693 | -0.96934 | C054–A011 | -0.8308 | 0.29966 | 0.26767 | -3.4617 | -1.2486 | 1.1153 | -0.56345 | 0.50329
[13 empty] | C054–A025 | -0.82711 | 0.30335 | 0.09103 | -3.4463 | -1.2639 | 0.37929 | -0.57037 | 0.17116
|  | artifact methods |  |  |  | outlier |  |  | manual fit required |  |  |  | C054–A030 | -0.32649 | 0.80397 | 0.015704 | -1.3604 | -3.3499 | 0.065435 | -1.5117 | 0.029529
| (rest) | slower reactions: Vmax over 30 data points, initial 600 sec discarded | [10 empty] | C054–A036 | -0.45144 | 0.67902 | 0.11422 | -1.881 | -2.8293 | 0.47591 | -1.2767 | 0.21476
[13 empty] | C054 w/o amine | -1.1305 |  | 0.1189 | -4.7103 | 4.7103 | 0.49543 | 2.1256 | 0.22357
INSERT IMAGE OF KINETIC CURVES HERE